## Slide 1: SAM Probes Refactoring TF
Cristina Aiftimiei & Emir Imamagic

## Slide 2: Overview
Mandate
Activity
To Do

## Slide 3: SAM Probes Re-factoring TF - Mandate
Assess the support status of various Nagios probes available
  recommend removal or replacement of unsupported probes from the SAM Nagios framework
  request improvement/correction of supported ones
Improve documentation:
  collect in a central place the references to the individual nagios probes/tests descriptions
  update known documentations web pages with proper references (avoid broken links)
  improve developers guides
  require change to SAM to remove hardcoded documentation URLs in metrics configuration
References:
  OMB, June 26, 2014 - Re-factoring SAM probes
    https://indico.egi.eu/indico/getFile.py/access?contribId=3&resId=0&materialId=slides&confId=2190
  SAM Nagios probes refactoring TF
    https://wiki.egi.eu/wiki/SAM_Nagios_probes_refactoring_TF

## Slide 4: TF Activity - Documentation
Main page - https://wiki.egi.eu/wiki/SAM
Tasks:
  replace all references to "grid-monitoring.egi.eu" with "mon.egi.eu” – DONE
  update all broken links in SAM - In Progress
  provide lists and descriptions of all ROC SAM tests
    created ROC_SAM_Tests – DONE
    update description of ROC SAM tests – In Progress
  include info from SAM_Tests in SAM, and obsolete it - In Progress
References:
  SAM Probes refactor TF activity v1
  https://wiki.egi.eu/wiki/SAM
  https://wiki.egi.eu/wiki/ROC_SAM_Tests

## Slide 5: TF Activity - Probes
Identified issues and possible solutions
  NGI SAM Nagioses have documentation URL hardcoded in metric configuration
  SAM CE Nagios framework is unsupported
  SRM tests (add reference) cause false alarms on new DPM versions
  org.gstat.SanityCheck - not maintained anymore
  LFC decommissioning - with implications in tests depending on it
  SAM requires unsupported software - UMD 2 middleware & CentOS/SL5
  org.sam.SRM-GetTURLs fails if webdav is published
  MPI Nagios probe issues for GE batch system
Reference - https://wiki.egi.eu/wiki/SAM_Nagios_probes_refactoring_TF#Identified_Issues

## Slide 6: TF Activity – TO DO
Documentation
  update all references
  check and recommend improvement of the documentation migrated from CERN (SAMDOC - http://argoeu.github.io/samdoc/confluence/display/SAMDOC/ )
  improve developers guides
    have dedicated meeting(s) with devels
Probes
  identify & track unsupported probes & request-for-changes (bugs, improvements)
  discuss & follow-up with SAM team & probes devels the implementation of the proposed solutions
Contribution & participation to the TF is VERY WELLCOME!!!