## Slide 1: Automated Weather and Environment sensor for firewatch in Indonesia
basuki@itb.ac.id
Insitut Teknologi Bandung, ID

## Slide 2: Background
Fire in the forestry
  No AWS
  No sensor connected
  The MODIS Data came from satellite, within 24 hours
  Land Clearing on Coconut palm oil plantation
  More than 10 Million Hectar on Indonesia

## Slide 3: Firewatch in Forestry
Iniatiatited by Ministry of Forestry in the early 2001
In 2009 collaboration between Indonesia and Australia (Landgate) for reducing the fire and hazard smoke
  Ministry of Forestry , Ministry of Environment and Indonesia National Insitute of Aeronautics and Space (LAPAN)
  Australia , LANDGATE
Deliver the Data from satellite through Network (Inherent/NREN in 2010 – 2012)
  Ministry of National Education
In 2014
  Burning from the Land in Sumatra and Kalimantan causes the smoke to other country
In 2015
  Burning from the peatland effected half of the world

## Slide 4: Firewatch Initiatives
Ministry of Forestry and LAND-gate Australia
  MODIS-Data from NASA
Collaboration Ministry Forestry with Ministry of Education (2010) for delivering the Hotspot information (Fire) through the Inherent (University of Palangkaraya and University of Riau )
In 2015, ITB initiatives again for firewatch
  Data Analysis through satellite
  Sosialize the environment impact through the social media (Facebook/twitter)
  Prevent air filter system solution in classroom
In 2016
  Prevent initiatives for building the near realtime model with Authomatic Weather System and Environment Sensor

## Slide 5: Google with KML’s data from MODIS NASA
https://earthdata.nasa.gov/earth-observation-data/near-real-time/firms/active-fire-data
Confidence level :100 %

## Slide 6: Earth.nullschool.net
The Fire affected by the Wind direction and speed
The indicators :
  COsc , Carbon Monoxide surface concentration
  Wind directions and speed
a visualization of global weather conditions forecast by supercomputers updated every three hours
Good as a models
Need more precise informartion on the location affected
CO : 3424 ppbv

## Slide 7: Global Firewatch
Special report for Indonesia(everyday)  15/02/2017

## Slide 8: PM2.5 and PM10 sensor
http://aqicn.org/city/indonesia/jakarta/us-consulate/south/
Data : API

## Slide 9: IDeate
By combining the satellite data with meteorological records, Field established that Indonesian fires often occur in association with the ultra-dry conditions in the region that accompany El Niño, a major cyclical weather system. These dry out the underlying peat to the point at which it can catch fire and can’t be extinguished until monsoon rains arrive months later. A next step might be to refine the predictions further by including the combined effects of high temperatures and low humidity on peat moisture, says Field.
He also found that less than 4 millimeters of rain per day during the annual dry season, from August to November – combined with El Niño conditions – seems to be a “tipping point” beyond which fires can to suddenly take off.
https://www.newscientist.com/article/2099496-indonesian-fires-sent-huge-smoke-plume-halfway-around-the-globe/?utm_medium=Social&utm_campaign=Echobox&utm_source=Facebook&utm_term=Autofeed&cmpid=SOC%7cNSNS%7c2016-Echobox#link_time=1470082665

## Slide 10: Define
What we (Indonesia) need it ?
  Automated Weather Station
    Rainfall
    Temperature
    Humidity
  Air quality Index and Polution Standard index measurements
    NOx, SOx , CO , NH3 , O3 and PM 2.5 (10)
  Sensors and sensors network
  Prediction models
  Socialize to peoples
https://en.wikipedia.org/wiki/Pollutant_Standards_Index

## Slide 11: Contraints/obstacle
In the field
  There is no power
  Limited converage by telecommunications system
  No sensor available
Source of the fire
  More than 50 km from nearest

## Slide 12: Build Prototype
Build prototype for AWS+sensor base on Arduino
  Board (I/O)
  Communication
    GSM/GPRS/Wifi
    Ethernet
    USB/Storage System
  Sensors
    Temperature
    Wind speed
    Wind direction
    Humidity
    Rainfall rate
    CO
    Particulate Matters 2.5 and 10 Micron
    CH4 ?
Develop Service Oritented Services (SOA) for the
Put the AWS in the area with near forestry/ peatland

## Slide 13: Prototype 1.0
Arduinno
Microcontroller
AWS
-Wind Direction
-Wind speed
-Temperature
Humidity
Rain fall
CO sensor
And other sensors
GSM/GPRS Modul
GPS modul
USB /Storage
ITB
Web Server
For collecting data
And
Portal
Middle Ware
NASA/NOAA web server ,etc
TCP/IP
Forestry (School)
Network of Science Community

## Slide 14: Testing on the Lab
AWS
  Windspeed, wind direction, temperature, pressure, humidity, CO2 sensor ,etc
  GSM /GPRS

## Slide 15: Testing on the field
Calibration of the equipment
Testing in Near Oil Palm Plantation
Measure on reliability of the data and system

## Slide 16: Main Challenges (Future)
Data sharing
  Data are available only in web based information systems
  Need to develop web services to make those data available to others
    http://weather.meteo.itb.ac.id/aws.php is one example that have some of their data available to others using web service (by request)
Build the model for reduce impact on Disaster
  Fire on Forestry / Land fires
  CO/CO2 models
  PM (Particulate Mattes 2.5 micron)
Build the Sensor Network
  AWS (Automatic Weather Station)
  Carbon Monoxide (CO)
  Carbon Dioxide (CO2)
  Particulate Matter
  Methane
Simuation on Environment impact peoples

## Slide 17: Thank You